Customer Information

Date:        Company Name:

Address:

City:        State:        Zip:

Contact Person:         Signed:

Title:        Email:

Telephone:        Fax:

Industry:

Project No.:        Order No.:

Required Parameters (refer to diagram)

Leading edge to leading edge spacing in inches:	   (S)       inches

Maximum package length (in direction of travel):  	(PL)       inches

Desired item rate in items per minute:   (RI)       item/min

Item Weight:	Minimum        Maximum

Minimum package length   (MPL)       inches

Maximum package width   (PW)       inches

Minimum package height   (PH)       inches

Product Information

What is the speed of the infeed conveyor? (conveyor before the scale)	      (FPM)

Note: Try to match conveyor speed with ±10% of the infeed and discharge conveyors. If conveyor speeds vary by more the 10% then additional infeed and discharge conveyors may be required.

What is the speed of the discharge conveyor? (conveyor after the scale) 	      (FPM)

Hazardous Area Environment

Hazardous Area No   Yes   If yes, continue, otherwise go to the next section.

Controller	Conveyor

Class:  I ,  II      Group:  C , D , E , E , F , G 	Class:  I ,  II      Group:  C , D , E , E , F , G

Division: 1 ,  2      AIT      		Division: 1 ,  2      AIT

Conveyor Order Specifications

Conveyor Construction Material:	Conveyor Size:

Mild Steel Painted (black) 	 24" x 12"	 60" x 24"

Stainless Steel	 47" x 24"	 Other:   Length        Width

Conveyor Belt Construction:	Conveyor Height:

Black Polyurethane 	 32" ±  2" (standard)

USDA White	 Other:        Enter inches to top of belt

Belt Speed:	Conveyor Capacity

Fixed      	  Desired belt speed (FPM) 		 100 x 0.02 lb (standard)

Variable       	 to       	 Desired belt speed (FPM)		 Other: 	      lb  Desired capacity (up to 250 lb)

X       lb  Increment size (.01, .02, .05, .1, .2, .5)

Motor Voltage (fixed speed):

220 VAC, 3 Ph, 50/60 Hz

460 VAC, 3 Ph, 50/60 Hz

575 VAC, 3 Ph, 50/60 Hz

Conveyor Order Specifications

Controller Type:	 IND560DYN EXPRESSWEIGH	 IND560DYN EXPRESSCHECK

Controller Voltage: 	 120/220 VAC	 120/220 VAC

Controller Construction Material: 	 Stainless Steel	 Mild Steel  or    Stainless Steel

Controller Options: 	 Stand, Mild Steel P/N 2B-03K-0167	 Stand, Mild Steel P/N KC585494020

Stand, Stainless Steel P/N KC586673020

Additional Order Information

Note: All information must be filled out before the order can be processed.

Conveyor Selections (choose the closest fit)

If minimum package spacing (S) is less than 24" Consult the factory

If minimum package spacing (S) is > 24" and width is < 12" try the 24" x 12" conveyor

If minimum package spacing (S) is > 47" and width is < 24" try the 47" x 24" conveyor

If minimum package spacing (S) is > 60" and width is < 24" try the 60" x 24" conveyor

Check Your Selection

To determine if a conveyor length is sufficient for this application use the following calculations:

Rate = Conveyor Speed (FPM) x 12

Scale Conveyor Length (CL)

Will your scale run the required packages per minute rate?

 Yes		 No

Recalculate rate using faster conveyor speed, or Shorter scale conveyor. After desired speed and or scale conveyor size is obtained then check for .300 seconds Minimum weight time using calculation below. In certain applications Negative pitch is used to achieve satisfactory results (see note below). 
Contact the factory for assistance.

Use the formula below to ensure that you have sufficient weight time on the scale. The package required at least .
300 seconds on the scale to weigh properly.

Weigh Time = [Scale Conveyor Length (CL) - Maximum Package Length (MPL)] x 5

Conveyor Speed (FPM)

Note (Negative Pitch):  If you are running with a "Negative" pitch (minimum package spacing (S) less than scale conveyor length) then use the following formula to calculate the Wigh Time.

Weigh Time = [2 x Minimum Spacing (S)] - Maximum Package Length (MPL) - Scale Conveyor Length (CL)] x 5

Conveyor Speed (FPM)

Checkweigher Limitations

(if yes to any of the following, consult the factory)

Minimum package height (PH) < 2 inches?

Minimum package length (MPL) is < 6 inches?

Maximum package weight > 2000 pounds?

Minimum package weight < .5 pounds?

Motor voltage requirement other than 220, 460, or 575 VAC @ 3 Ph, 50/60 Hz?

Extreme environmental factors can cause weighing accurate degradation. These factors include low frequency vibration, excess dust, air currents, and "non-solid" foundations such as mezzanines.  If any of these factors are present, corrective measure should be taken to assure optimum performance.

Additional environmental factors that must be considered. i.e.: RF interference, water, cleaning solutions, wide temperature fluctuations, etc. (consult factory for assistance).